# Diversion Valve Report

| Trade Waste Approval Number (if known): |  |  |  |  | Job Number: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Site: |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |
| Exact Location of Device: |  |  |  |  |  |  |  |
| Date of Last Test (if known): |  |  | Diversion Valve Model: |  |  | TCC Barcode Number (if applicable): |  |
| ☐ 6 Month Service |  |  |  | ☐ 12 Month Service |  |  |  |

| Dedicated water supply to system |  | Dedicated power supply to system |  |
| --- | --- | --- | --- |
| Demand valve activates when tap turned on |  | Diversion valve opens |  |
| Delay jet is functioning |  | Diversion valve closes |  |
| PLC registers valve open and closed |  | Floats activates when lifted |  |
| Count registers on PLC |  | Probe registers live spill valve at PLC |  |
| Probe detects when activated |  | High set point reading on PLC |  |
| Probe setting on PLC |  | Set to alarm at above |  |
| Low set point reading on PLC |  |  |  |
| Set alarm at below |  |  |  |

| General Condition of Installation: |  |
| --- | --- |
| ☐ TEST PASS ☐ TEST FAIL |  |
| Additional Comments: |  |

| Commissioning Report Declaration: I agree that the above information is correct and that this system is installed in good working order. |  |
| --- | --- |
| Print Name: |  |
| Signed: |  |
| Plumbers Occupational License No. |  |
| Date: |  |